## Sheet1
N. | Inputs | Values | Description
1 | Nodal Aggregation | 0 | To determine the variant of Average Participations to be applied, 1 for aggregating demand and generation at the same node, 0 for treating them separately
2 | Demand Cost Responsibility (%) | 50 | The percentage of demand responsibility to the cost of the assets
3 | Generation Cost Responsibility (%) | 50 | The percentage of generators responsibility to the cost of the assets
4 | Length per Reactance (PU) | 5 | In case the length of the assets is given in terms of reactance, how many km length corresponds to 1 per unit reactance
5 | Voltage Threshold (kV) | 132 | The voltage threshold for the transmission assets to be considered (in kV)
6 | Number of Snapshots | 1 | The number of hourly snapshots to be considered jointly for representing the annual usage
7 | Snapshots Weights | 1:8760 | The number of hours each snapshot represent, the total should be 8760 hours (one year)
8 | Cost Allocation Option | 1 | 1 to allocate the full cost, 2 to allocate only the cost of the used capacity, 3 to allocate full cost if the assets that are classified as 'Exist' and the cost of the used capacity if they are classified as 'Planned', 4 is to allocate the cost based on the utilization threshold, if the asset is utilized more than the threshold, allocate the full cost, otherwise, allocate the cost of the used capacity
9 | Utilization Threshold (%) | 25 | If the ratio between the used asset capacity and the asset rated capacity is equal or above this percentage, the asset cost will be full allocated, otherwise, only the cost of the used capacity will be allocated.This will be used only if 'Cost Allocation Option' is set to 4
10 | Cost of Unused Capacity | 2 | To determine what to do with the cost of unused capacity in case 'Cost Allocation Option' is not set to 1. 0 to do nothing, 1 to allocate it equally among agents who use the asset, 2 to allocate it equally among all agents of the country(ies) owning the asset, 3 to allocate it equally among all agents
11 | Demand Socialized Cost Responsibility (%) | 100 | The percentage of demand responsibility to the socialized cost of the assets. Only used when 'Cost Allocation Option' is not set to 1 and 'Cost of Unused Capacity' is not set to 0
12 | Generation Socialized Cost Responsibility (%) | 0 | The percentage of generators responsibility to the socialized cost of the assets. Only used when 'Cost Allocation Option' is not set to 1 and 'Cost of Unused Capacity' is not set to 0
13 | Asset Types | Transmission line:1 | Mapping the asset type with its code
14 | Snapshots Results | 0 | 1 or 0 to enable or disable separate results for each snapshot, respectively
15 | Agent Results | 1 | 1 or 0 to enable or disable results per agent, respectively
16 | Country Results | 1 | 1 or 0 to enable or disable results per country, respectively
17 | SO Results | 1 | 1 or 0 to enable or disable results per system operator, respectively
18 | Intermediary Results | 1 | 1 or 0 to enable or disable intermediary results in terms of flow-km contribution and utilization percentage, respectively
19 | Aggregated Results | 1 | 1 or 0 to enable or disable aggregated results per asset group, per country assets and per system operator assets, respectively
20 | Losses Allocation Results | 0 | 1 or 0 to enable or disable allocating transmission losses per agent per asset
21 | Demand Losses Responsibility (%) | 50 | The percentage of demand responsibility to the losses of the assets
22 | Generation Losses Responsibility (%) | 50 | The percentage of generators responsibility to the losses of the assets